TEMPLATE INSTRUCTIONS

This template document contains guidance notes, such as this one. These instructions should therefore be deleted before the release of the document. This also applies to this chapter "Template instructions". Information highlighted in yellow should also be evaluated and completed.

Sections that are indicated as optional can be deleted. Also, required content can be added.

The version history below applies to the template and not to the resulting document. Clean up the table as needed and use it for your document control purposes.

Template Version History

| Version | Date of validity | Author | Description of change |
| --- | --- | --- | --- |
| 1 | 2022-04-18 | Célia Cruz | First version |
| 2 | 2022-06-29 | Célia Cruz | Review formatting. Review references to other documents and sections of documents. |

# Clinical Evaluation Plan

# TMP-CE-02

Manufacturer: COMPANY_NAME

Device Name: PRODUCT_NAME

## Approval

The following roles (author, reviewer, and approver) should check the document to ensure complete and correct content, the completion of the document. There may be more than one author, reviewer and approver. As a general rule, the first author is the manufacturer.

|  | Name | Role | Date | Signature |
| --- | --- | --- | --- | --- |
| Author | [Name] | [Role, e.g. Medical Writer] | YYYY-MM-DD | Name, including digital signature] |
| Reviewer | [Name] | [Role, e.g. Medical Writer] | YYYY-MM-DD | Name, including digital signature] |
| Approver | [Name] | [Role, e.g. Medical Writer] | YYYY-MM-DD | Name, including digital signature] |

## Scope

There are some guidance documents on Clinical Evaluation. You can find more information on:

- MDCG 2020-1

- MDCG 2020-5

- MDCG 2020-6

- MDCG 2020-13

- MEDDEV 2.7.1 rev. 4 (guidance for MDD, but still a good starting point)

The Clinical Evaluation Plan (CEP) is used to plan the clinical evaluation and, thus, the clinical strategy for a specific device.

The aim of the document is to specify the clinical safety and performance characteristics of the medical device and to describe the procedure and criteria for providing clinical evidence to comply with the safety, performance and clinical benefit requirements for the medical device.

The plan is in accordance with the Medical Device Regulation (EU) 2017/745 and MDCG 2020-1 Guidance on Clinical Evaluation (MDR) / Performance Evaluation (IVDR) of Medical Device Software.

## Version History

| Version | Date of validity | Created by | Approved by | Description of change |
| --- | --- | --- | --- | --- |
| 1 | YYYY-MM-DD | [Name, including digital signature] | [Name, including digital signature] | First version |

## Identification of the product

| Name of the product | Version of the product | Software version of the product | Basic UDI-DI (optional) |
| --- | --- | --- | --- |
| < name of the product> | <version of the product. If standalone software, use either this or the next column and delete the other> | <version of the software> | <Basic UDI-DI, if/when available> |

### Intended Use

#### Intended Purpose

IMPORTANT: The intended purpose should be taken word-for-word from the technical documentation and must be the same in all documents in the technical documentation (including in the clinical evaluation. Copy from the section Summary Intended Purpose from TMP-IU-01 Intended Use.

#### Intended Users

IMPORTANT: The intended users should be taken word-for-word from the technical documentation and must be the same in all documents in the technical documentation (including in the clinical evaluation. Summarize from the section User Profile from TMP-IU-01 Intended Use. Add additional intended use elements that could be clinically relevant here, e.g.:

•	Installation, including installation environment (e.g., operating system)

•	Update procedure

•	Remote maintenance

•	Parameterization

### Patient Population

IMPORTANT: List the characteristics of the patient population. The patient group must be taken word-for-word from the technical documentation and must be the same in all documents in the technical documentation. See the section Patient Population from TMP-IU-01 Intended Use and TMP-IU-02 Stakeholder Requirements.

The medical device is intended for use in the following patients:

- Patients group

### Medical Indication

List the medical indications, i.e. clinical conditions, that the medical device is intended for. Do not list just medical fields. The indications must be taken word-for-word from the technical documentation and must be the same in all documents in the technical documentation. See the section Medical indication in TMP-IU-01 Intended Use.

The following indications have been defined:

- Indication_1

- Indication_2

- …

### Contraindications

List the contraindications for the medical device. Do not list just medical fields. The contraindications must be taken word-for-word from the technical documentation and must be the same in all documents in the technical documentation. See the section Contraindications and Exclusions from TMP-IU-01 Intended Use.

The following contraindications have been defined:

- Contraindication_1

- Contraindication_2

- …

### General Safety and Performance Requirements

The medical device must comply with the applicable general safety and performance requirements (GSPR) according to Annex I of the MDR, taking into account the intended use of the medical device.

The safety and performance requirements, which must be supported by relevant clinical data, are listed below.

The GSPR can be used as a basis for identifying the requirements which have to be proven by the performance evaluation.

It should be assessed if other safety and performance requirements are applicable.

- Devices shall achieve the performance intended by the manufacturer and shall be designed and manufactured in such a way that, during normal conditions of use, they are suitable for their intended purpose. They shall be safe and effective and shall not compromise the clinical condition or the safety of patients, or the safety and health of users or, where applicable, other persons, provided that any risks which may be associated with their use constitute acceptable risks when weighed against the benefits to the patient and are compatible with a high level of protection of health and safety, taking into account the generally acknowledged state of the art.

- All known and foreseeable risks and any undesirable side effects shall be minimised and acceptable when weighed against the evaluated benefits to the patient and/or user arising from the device's achieved performance during normal conditions of use.

### Claims

IMPORTANT:  Statements/claims used in the marketing and related to clinical safety and/or performance must be listed here. All claims used in advertising brochures, informational material, instructions for use or other accompanying documents must be listed. These statements must then be evaluated and verified in the clinical evaluation report (CER). All claims must be validated with appropriate data. The claims can be divided into safety and performance claims.

The claims in the following sections have been defined/should be introduced for the medical device.

#### Performance Claims

Examples of Performance claims:

- Easy to use

- Quick operation

- High image quality

- High quality ...

- xy % accuracy, xy % sensitivity, xy % specificity

- Calculation of value y in z seconds

- Correct management and display of medication reminders and appointments

- Monitoring of limit values and triggering alarm functions

- Claim_1

- Claim_2

- …

#### Safety Claims

Examples of Safety claims:

- Stable (biocompatible) material

- Optimal cleaning

- Secure data transmission and communication of the components among themselves as well as with other systems via interfaces

- Correct collection and evaluation of entered health data

- Protection against ...

- Claim_1

- Claim_2

- …

### Clinical Benefit

“Clinical benefit” means the positive impact of a device on the health of an individual, expressed in terms of a meaningful, measurable, patient-relevant clinical outcome(s), including outcome(s) related to diagnosis, or a positive impact on patient management or public health.

Describe the clinical benefits you expect from your product. Examples of such benefits are:

- Positive effects on clinical outcomes (e.g., reduced probability of adverse events, e.g., reduction of blood loss and thus reduced mortality or morbidity, improvement of adherence; or improvement in the impaired body function, shortening of surgery time)

- The quality of life of the patient (e.g., faster recovery such as significant improvements, including improvements resulting from the simplification of care or improvement in the clinical management of patients, improvement in body functions, relief of symptoms)

- Outcomes related to the diagnosis (e.g., enabling a correct diagnosis, providing an earlier diagnosis of a disease or disease specifics, or identifying patients who are more likely to respond to a particular therapy)

- Positive effects of diagnostic tools on clinical outcomes

- Therapeutic success and long-term effectiveness, effects on public health (e.g., on the capability of a medical diagnostic device to detect a specific disease and therefore prevent its spread, to identify phases, stages, locations, severities, or variants of the disease, predict future disease onset)

The following clinical benefits are claimed for the medical device:

- Benefit_1

- Benefit_2

- …

## Responsibilities

Adapt the responsibilities to the company.

| Activity | Requirement | Person responsible/Department |
| --- | --- | --- |
| Compile/Update Clinical Evaluation Plan | E.g., experienced staff with specific knowledge of the medical device, the underlying risks/side effects and the general safety and performance requirements (GSPR) | Product manager, supported by the clinical department if required |
| Compile/Update the Clinical Evaluation | E.g., staff with an academic degree + 5 years of relevant professional experience (alternatively 10 years of relevant professional experience without an academic degree) trained in the technology and use of the medical device under evaluation, the diagnosis and treatment of the disease, information management and database search, regulatory requirements and medical writing | Clinical department |
| Compile/Updating the Risk Management File | E.g., experienced staff with specific knowledge of the general safety and performance parameters, and trained the underlying experimental methods and statistical data analysis | Risk manager |
| Research information equivalent/similar devices and alternative procedures | E.g., experienced staff with specific knowledge of the medical device | Product manager, supported by the clinical department if required |
| Information about claims, performance and safety requirements and clinical benefit | E.g., experienced staff with specific knowledge of the medical device | Product manager, with support from the clinical department if required |
| Internal tests | E.g., experienced staff with specific knowledge of the general safety and performance parameters, and trained the underlying experimental methods and statistical data analysis | Development |
| Plan a clinical study and write a report | The sponsor can delegate some or all of the tasks and functions associated with the clinical investigation, including monitoring, to an external organization (e.g., CRO) | Clinical department |

## Specification of Methods for Investigating Qualitative and Quantitative Aspects of Clinical Safety and Performance

The following methods are specified in risk management and related processes for the identification and assessment of any clinical risks, side effects and contraindications specific to the device under evaluation, or equivalent or benchmark devices:

- Risk analysis according to ISO 14971. This standard specifies the methods to be used for the verification of the qualitative (severity of the harm) and quantitative (probability of harm) aspects of clinical safety with clear reference to the determination of residual risks and side effects. The information is described in the SOP-RM-01 Procedure Risk Management and TMP-RM-02 Risk Management Plan.

- Proof of the scientific validity of the analysis tools (including algorithms) used by means of:

  - systematic literature search

  - Review of technical standards

  - Review of recognized guidelines of medical societies

  - Proof-of-concept studies/feasibility studies

  - clinical investigations

- Verification of technical performance using verification data collected on the product by means of:

  - Unit tests, integration tests, system tests

  - Use of curated databases or registers

  - Use of reference databases

  - Use of pre-collected patient data

- Clinical validation based on validation data available for the product by means of:

  - Clinical/diagnostic sensitivity and/or clinical/diagnostic specificity

  - Positive/negative predictive value

  - Number needed to treat (average number of patients that need to be diagnosed/treated to have an impact on a person)

  - Number needed to harm (number of patients to be diagnosed/treated to cause an adverse effect on a patient)

  - Usability/ user interface

  - Confidence interval(s)

- A systematic search for literature on the state of the art

- A systematic search for literature on the medical device/equivalent device

- A systematic search for literature on the equivalent device

- Search of safety databases

- Search of clinical investigation databases

- Registry databases (for implants)

- Laboratory testing

- Bench tests

- Clinical investigation data

- Post-market surveillance (PMS) activities

- Post-market clinical follow-up (PMCF) activities

- …

## List and Specification of Clinically Relevant Parameters for the Acceptability of the Benefit-Risk-Ratio

Clinically relevant parameters are established in order to be able to demonstrate the general safety and performance of the device as well as the claimed benefit of the device, and to prove the device-specific claims. All clinical relevant parameters for the medical device are listed in the plan. These are discussed and evaluated in the clinical evaluation report.

IMPORTANT: An indicative list and specification of parameters to be used to determine, based on the latest state of the art in medicine, the acceptability of the benefit-risk ratio for the various indications and for the intended purpose of the device; the state of the art and the device safety and performance requirements should be considered. The clinical relevant parameters should be assessed individually for all the devices under evaluation.

Clinically relevant parameters should be worked out to demonstrate the clinical benefit, and more specifically whenever possible to quantify the clinical benefit, e.g., clinical outcome, specific endpoints, scales or other specific criteria used to measure the device’s performance and safety.

### Performance Parameters

Examples of performance parameters are:

- Performance parameters:

- Quality of life (clinical data)

- Image quality (bench tests)

- Measurement accuracy for diagnostic products (bench tests)

- Sensitivity and specificity of tests (to be demonstrated with bench tests and/or clinical data)

- Material resistance (bench tests)

- Performance parameter_1

- Performance parameter_1

- …

### Safety Parameters

Describe the device’s safety parameters. These correspond to what should your device fulfil so that it is considered safe? And what will be the methods to quantify it, i.e. how will you prove that your product fulfils those safety parameters? A method could be literature search for past studies, but additionally it could be a Post-Market Clinical Follow-Up.

Examples of safety parameters are:

- Mortality (clinical data)

- Usability

- Electrical safety

- Biocompatibility

- Cleanability

- Sterility

- Alarms

- Device malfunctions per year

- Number of adverse events per year

- Safety parameter_1

- Safety parameter_1

- …

## Type of Evaluation

Describe the type of Clinical Evaluation to be done: e.g. equivalence, clinical investigation.

## Equivalence (if applicable)

If the Clinical Evaluation is decided to do by equivalence, please complete this section. The equivalent device must be the same/similar in Technical, Clinical and Biological characteristics, and the manufacturer should have sufficient access to data to prove that. See more information in MDCG 2020-05 Clinical Evaluation - Equivalence

### Demonstration of Equivalence

Demonstrate that your device is equivalent to the equivalent device, focusing on technical, biological and clinical characteristics. To be considered equivalent, it has to be mostly the same in most characteristics.

Feel free to add more rows that are useful for the comparison.

You can add a score system for the equivalence determination or just do it by qualitative comparison. If you prefer to go for the score system, see this example:

Within each category there are four steps for the evaluation of the equivalence level:

| Equivalence Level | Score |
| --- | --- |
| Very Equivalent | 3 |
| Nearly Equivalent | 2 |
| Similar in some aspects | 1 |
| Not similar | 0 |

After the score has been assigned to clinical, technical and biological, the scores are summed up. The total equivalence is determined based on the sum of those values:

| Sum | Equivalence |
| --- | --- |
| 8-9 | Very Equivalent |
| 6-7 | Nearly Equivalent |
| 3-5 | Similar in some aspects |
| 0-2 | Very different |

The device is considered clinically equivalent if it is:

- used for the same clinical condition

- used for the same intended use

- used at the same site in the body

- used in a similar population

- not foreseen to deliver significantly different performances

- similar performances such as the expected clinical effect, the specific intended purpose, the duration of use, etc.

The device is considered technically equivalent if it:

- is of similar design

- is used under the same conditions of use

- has similar specifications and properties

- has similar intensity of energy, tensile strength, viscosity, surface characteristics, wavelength

- has similar surface texture, porosity, particle size, nanotechnology, specific mass, atomic inclusions

- uses similar deployment methods

- has similar principles of operation and critical performance requirements

The device is considered biologically equivalent if it:

- is similar or has similar effecting materials which are in contact with body tissue and fluids.

For standalone software, biologically equivalent is not applicable, as the device doesn’t come in contact with human tissue or body fluids. Please refer so.

## Literature Search Protocol

This literature search report is used to document the performance of a comprehensive literature search and to identify all relevant available published data to demonstrate the (e.g. clinical performance or safety or state of the art) for the medical device.

Specify the scope of the literature review in more detail dependent on the addressed parameter (clinical performance and safety and/or state of the art).

The literature search should be performed and documented systematically and with the required level of detail. The aim is to appraise the methods and data used and to verify the results and to reproduce the search at any time.

### Literature Search Methods

Brief summary and justification of the literature search strategy applied for retrieval of information on current knowledge/the state of the art, including literature databases used as sources of data.

Describe the literature search methods, including the databases to be searched (e.g., PubMed, Google Scholar, MEDLINE, Cochrane, Embase, AMWF), keywords to be entered and how to document it.

Research question(s) can be constructed through some techniques, such as PICO:

- Population(s)/disease(s) or condition(s)

- Intervention(s)

- Comparator group(s)/control(s)

- Outcome(s)/endpoint(s)

Some tips:

- a search restricted to the manufacturer’s own product or the name of their chosen equivalent could miss important information and therefore is not acceptable,

- include both favourable and unfavourable data included,

- include strategies to avoid duplication of data (e.g., across different databases or between manufacturer and published data).

Below is an example of text that must be adapted.

A systematic literature review and evaluation of available published data relevant to the medical device in question and its intended purpose is a prerequisite for compliance with the MDR. Furthermore, the general principles of the European Commission Guideline MEDDEV 2.7/1 rev. 4 (June 2016) „Clinical Evaluation: A Guide for Manufacturer and Notified Bodies under Directive 93/42/EEC and 90/385/EE“ were applied and the search(es) conducted in line with it.

The objective of the literature search is to systematically assess risks and benefits associated with the use of the medical device/equivalent device and/or similar devices. Furthermore, it shall provide analysis of available published and unpublished clinical data to determine its suitability for demonstration of safety, performance and clinical benefit of the medical device, and to establish conformity with the general safety and performance requirements (GSPR) of the MDR.

Literature search will be carried out according to the following methodology:

Potentially relevant literature identified through the search

Literature excluded, with reasons

Literature retrieved for more detailed assessment

Literature excluded from clinical evaluation, with reasons

Literature with relevant useable data included in the clinical evaluation, by outcome:

• Device performance*

• Device safety*

• Device comparability (if applicable)

# The literature search is based on the review and evaluation of all existing data and publications from the identified sources, as this information makes it possible to assess the safety and effectiveness of the medical device.

### Source of Data and Database Search Strategy

| Databases as literature sources |  |
| --- | --- |
| Included filters for search |  |
| Excluded filters for search |  |
| Keywords |  |
| * Strategies for avoiding duplication of data (for example, across different publications or between manufacturer and published data). |  |

General exclusion criteria are the following:

Add additional exclusion criteria or delete, if not applicable, e.g.:

- publications which are not available as full text or publications for which no abstract is available,

- publications which are not peer-reviewed scientific literature,

- studies/reports regarding animal studies,

- books, as they are internally not available for review.

…

Publications written in a language other than English are excluded following the analysis of the abstract, if the abstract shows no relevance for the clinical evaluation. If the abstract shows such relevance for the clinical evaluation, the full text of the publication written in another language shall be translated and evaluated accordingly.

If the publications have no abstract available and the title shows such a relevance for the clinical evaluation, the full text of the publication shall be evaluated accordingly.

IMPORTANT: If the systematic search was not sufficient, an unsystematic search can be performed. The search categories, search terms and inclusion/exclusion criteria for each search must be documented in the Literature Search Protocol.

### Literature Appraisal Criteria

# For relevant literature data, appraisal of criteria for suitability and data contribution is performed, as follows:

| Suitability Criteria | Description | Grading System |  |
| --- | --- | --- | --- |
| Appropriate device | Were the data generated from the device in question? | D1 | Actual device |
|  |  | D2 | Equivalent device |
|  |  | D3 | Other device |
| Appropriate device application | Was the device used for the same intended use (methods of deployment, application)? | A1 | Same use |
|  |  | A2 | Minor deviation |
|  |  | A3 | Major deviation |
| Appropriate patient group | Were the data generated from a patient group that is representative of the intended treatment population (age, sex) and clinical condition (disease, including state and severity)? | P1 | Applicable |
|  |  | P2 | Limited |
|  |  | P3 | Different population |
| Acceptable report/data collation | Do the reports of collation of data contain sufficient information to be able to undertake a rational and objective assessment? | R1 | High quality |
|  |  | R2 | Minor deficiencies |
|  |  | R3 | Insufficient information |

| Data Contribution Criteria | Description | Grading System |  |
| --- | --- | --- | --- |
| Data source type | Was the design of the study appropriate? | T1 | Yes |
|  |  | T2 | No |
| Outcome measures | Do the outcome measures reported reflect the intended performance of the device? | O1 | Yes |
|  |  | O2 | No |
| Follow-up | Is the duration of follow-up long enough to assess duration of treatment effects and identify complications? | F1 | Yes |
|  |  | F2 | No |
| Statistical significance | Has a statistical analysis of the data been provided and is it appropriate? | S1 | Yes |
|  |  | S2 | No |
| Clinical significance | Was the magnitude of the treatment effect observed clinically significant? | C1 | Yes |
|  |  | C2 | No |

For each relevant data, the appraisal of the criteria for suitability and data contribution will be commented on and the brief conclusion will be performed. That information will be recorded in the TMP-CE-04 Literature Search List. The report of such analysis will be documented in the TMP-CE-01 Clinical Evaluation Report.

## Planned procedure for Clinical Evaluation

### Proof of scientific validity

According to MDCG-2020-1, scientific validity is understood as the extent to which the output of the software product (e.g. concept, conclusion, calculations) is associated with the intended physiological condition or clinical disease based on the selected inputs and algorithms. This association should be well-founded or clinically accepted.

Sample wording:

The clinically relevant components of the system are the implementations of the algorithms/questionnaires for diagnosis or therapy progress. To prove the scientific validity, a literature search in MEDLINE is carried out within the scope of the intended purpose of the medical device software with a focus on e.g. scores/detection algorithms as well as on the general use of e.g. digital products in the diagnosis/treatment of the mentioned indications. The literature search also identifies the safety and performance of the medical device software.

### Verification of technical performance

According to MDCG-2020-1, the verification of technical performance is the demonstration of the medical device software ability to generate the intended output from the input data in an accurate, reliable and precise manner. This verification is performed as part of the software verification of the medical device.

### Clinical validation

Sample wording:

If no clinical data are available, use the next paragraph.

Where, in accordance with Article 61, Section 10 of the MDR, demonstration of conformity with essential safety and performance requirements based on clinical data is considered inappropriate, any such exception must be duly justified based on the manufacturer's risk management and considering the specific characteristics of the interaction between the device and the human body, the clinical performance intended and the manufacturer's claims.

The demonstration of conformity with essential safety and performance requirements based only on the results of non-clinical test methods, including performance evaluation, bench testing and pre-clinical evaluation, must be justified. This is provided in the following table:

| Considerations | Evaluation |
| --- | --- |
| Result of risk management | List risk management results with reference to residual risks |
| Consideration of the specifics of the interaction between the product and the human body | Example: No interaction or even contact with the human body takes place during the use of the medical device software. |
| Others | Example: The literature search did not reveal any side effects. Information on similar products based on retrospective and prospective studies and safety databases showed no evidence of risks or side effects caused by the system. |

Based on this argumentation, the clinical evaluation can be performed exclusively by evaluating the first two steps.

However, to support the demonstration of the performance and safety specifications, additional data resulting from the following sources will be analyzed:

- Post-market surveillance

All results of the valid clinical assessment are documented in this clinical evaluation

Sample wording:

If clinical data are available, delete the previous paragraph and use the following one.

The valid clinical assessment of the medical device software is based on data from the following sources:

e.g.

- Clinical investigations before market launch

- Post-market surveillance

All valid clinical assessment results are documented in this clinical evaluation.

## Clinical Development Plan

MDR: “A clinical development plan indicating progression from exploratory investigations, such as first-in-man studies, feasibility and pilot studies, to confirmatory investigations, such as pivotal clinical investigations, and a PMCF as referred to in Part B of the Annex XIV with an indication of milestones and a description of potential acceptance criteria”

If a clinical investigation is planned for the device indicate so. For existing devices, “not applicable” can be entered here.

A clinical investigation is planned for the device(s) under evaluation. The results of the clinical investigation must be taken into account in the clinical evaluation.

Or

Not applicable, because ....

## Updating the Clinical Evaluation Report

The clinical evaluation report defines when the next update of the clinical evaluation of the medical device must be carried out. The justification of the frequency must be based on the outcome of the clinical evaluation such as post-market surveillance data, residual risks and safety data. In the event of a safety-relevant and/or reportable event or in the event of safety-relevant modifications to the medical device with an effect on risk management, the update must be performed immediately with reference to the specific reason or event.