TEMPLATE INSTRUCTIONS

This template document contains guidance notes, such as this one. These instructions should therefore be deleted before the release of the document. This also applies to this chapter "Template instructions". Information highlighted in yellow should also be evaluated and completed.

Sections that are indicated as optional can be deleted. Also, required content can be added.

The version history below applies to the template and not to the resulting document. Clean up the table as needed and use it for your document control purposes.

Template Version History

| Version | Date of validity | Author | Description of change |
| --- | --- | --- | --- |
| 1 | 2022-06-07 | Célia Cruz | First version |

## PMCF Identification

| PMCF Plan Number |  |
| --- | --- |
| PMCF Plan Date |  |

## Version History

| Version | Date of validity | Created by | Approved by | Description of change |
| --- | --- | --- | --- | --- |
| 1 | YYYY-MM-DD | [Name, including digital signature] | [Name, including digital signature] | First version |

## Manufacturer Contact Details

| Manufacturer Name |  |
| --- | --- |
| Address |  |
| Single Registration Number |  |
| Person Responsible for Regulatory Compliance |  |
| Email |  |
| Phone |  |
| (if Authorised Representative is applicable indicate the same details as for the Manufacturer) |  |

## Identification, Description and Specification of the Product

| Name of the product | Version of the product | Software version of the product | Basic UDI-DI (optional) | Certificate Number (if applicable) | CNDN Code | Class and Rule |
| --- | --- | --- | --- | --- | --- | --- |
| < name of the product> | <version of the product. If standalone software, use either this or the next column and delete the other> | <version of the software> | <Basic UDI-DI, if/when available> |  |  |  |

## Intended Purpose

IMPORTANT: The intended purpose should be taken word-for-word from the technical documentation and must be the same in all documents in the technical documentation (including in the clinical evaluation. See section Intended Purpose from TMP-IU-01 Intended Use.

## Intended Users

IMPORTANT: The intended users should be taken word-for-word from the technical documentation and must be the same in all documents in the technical documentation (including in the clinical evaluation. See section User Profile from TMP-IU-01 Intended Use. Add additional intended use elements that could be clinically relevant here, e.g.:

•	Installation, including installation environment (e.g., operating system)

•	Update procedure

•	Remote maintenance

•	Parameterization

## Patient Population

IMPORTANT: List the characteristics of the patient population. The patient group must be taken word-for-word from the technical documentation and must be the same in all documents in the technical documentation. See section Patient Population from TMP-IU-01 Intended Use and TMP-IU-02 Stakeholder Requirements.

The medical device is intended for use in the following patients:

- Patients group

## Medical Indications

List the medical indications, i.e. clinical conditions, that the medical device is intended for. Do not list just medical fields. The indications must be taken word-for-word from the technical documentation and must be the same in all documents in the technical documentation. See section Medical Indications from  TMP-IU-01 Intended Use.

The following indications have been defined:

- Indication_1

- Indication_2

- …

## Contraindications

List the contraindications for the medical device. Do not list just medical fields. The contraindications must be taken word-for-word from the technical documentation and must be the same in all documents in the technical documentation. See section Contraindications from TMP-IU-01 Intended Use.

The following contraindications have been defined:

- Contraindication_1

- Contraindication_2

- …

## List and description of any variants and/or configurations covered in PMF

Describe a list of any variants and/or configurations covered in this PMCF. If not applicable, indicate so.

## List of accessories covered in PMCF

Describe a list of accessories covered in this PMCF. If not applicable, indicate so.

## Expected Lifetime

Describe the expected lifetime of the device.

## Novelty

## Novel product

Describe if it corresponds to a novel product. If not, indicate so.

## Novel related clinical procedure

Describe if it corresponds to a novel related clinical procedure. If not, indicate so.

## Novel features

Describe if there are novel features and explain them.

## Purpose

Briefly describe the purpose of this document, updating the suggestion below as needed.

There are some guidance documents that may further help you to fill out the template: MEDDEV Guidance 2.7/1 Rev. 4 on Clinical Evaluation MEDDEV Guidance 2.12/2 Rev. 2 on Post-Market Clinical Follow-Up

The post-market clinical follow-up report is compiled at the end of a surveillance interval as specified in the TMP-CE-05 Post-MarketCclinical Follow-up Plan and serves as input for the next update of the clinical evaluation (TMP-CE-01 Clinical Evaluation Report). Following Annex XIV MDR, the PMCF is conducted with the aim of:

- confirming the safety and performance of the device, including the clinical benefit if applicable, throughout the product expected lifetime,

- identifying previously unknown side-effects and monitoring the identified side-effects and contraindications,

- identifying and analyzing emergent risks on the basis of factual evidence,

- ensuring the continued acceptability of the benefit-risk ratio referred to in sections 1 and 9 of annex I MDR, and

- identifying possible systematic misuse or off-label use of the device, with a view to verifying that the intended purpose is correct.

## PMCF Plan

### Objectives

Define the objectives of the PMCF. It should translate each risk and benefit above identified into a specific objective that can be measured, expressing a “formal hypothesis”. Check MEDDEV 2.12./2 guidance for more information.

For example: if your product is a software to support diagnosis, one aim could be to measure a higher sensitivity / specificity of the device.

### Methods and Procedures

Describe the methods and procedures to proactively collect and evaluate clinical data from the use of the medical device in or on  humans. This can include clinical investigations, analysis of retrospective data, structured user feedback analysis (e.g. surveys), etc. Some subsections below further describe some of these methods. Adapt and/or remove as applicable.

For example: if your product is based on machine learning, you may want to calibrate and evaluate your model on customer-specific data before they use it in their clinical setting. Results from such evaluation will give an idea of your model’s generalizability.

### Literature Review

| Title | Continuous monitoring of device-related scientific literature |
| --- | --- |
| Aim of activity | Examples: - confirming the safety of the medical device - confirming the performance of the medical device - identifying previously unknown side-effects (related to the procedures or to the medical devices) - monitoring the identified side-effects and contraindications - identifying and analysing emergent risks - ensuring the continued acceptability of the benefit-risk ratio - identifying possible systematic misuse or off-label use of the device (as per MDCG 2020-07) |
| Rationale and known limitations | Describe the rationale for the appropriateness of the chosen methods/procedures, including: - the justification for sample size, timescales and endpoints - justification for comparator, on the basis of intended purpose and state of the art - justification of the study design on the basis of all of the above, and why it is sufficient to ensure representative patient populations and provide for adequate controls on sources of bias (an evaluation of the potential sources of bias should form part of this) - a statistical justification for the expected quality of outcomes, and justification for why this is satisfactory in light of the residual risks. This is an important consideration. For example, retrospective surveys with no justification other than “this should demonstrate the expected quality of evidence that we require,” but without showing a statistical rationale, are not acceptable. |
| Method | Proactive continuous monitoring of scientific literature related to the device and equivalent or similar devices |
| Objective | Identifying scientific literature in relation to the state-of-the-art use of the device as well as the evaluation of safety and performance aspects (including any off-label use) |
| Timeline | The results of the continuous literature review are analysed monthly throughout the entire life cycle of the device. The analysed data set is implemented in the Clinical Evaluation Report updates time |

Justification for the adequacy of the methods and procedures and an adequate justification for the schedule.

### Customer Surveys

| Title | Systematic customer survey |
| --- | --- |
| Aim of activity | Examples: - confirming the safety of the medical device - confirming the performance of the medical device - identifying previously unknown side-effects (related to the procedures or to the medical devices) - monitoring the identified side-effects and contraindications - identifying and analysing emergent risks - ensuring the continued acceptability of the benefit-risk ratio - identifying possible systematic misuse or off-label use of the device (as per MDCG 2020-07) |
| Rationale and known limitations | Describe the rationale for the appropriateness of the chosen methods/procedures, including: - the justification for sample size, timescales and endpoints - justification for comparator, on the basis of intended purpose and state of the art - justification of the study design on the basis of all of the above, and why it is sufficient to ensure representative patient populations and provide for adequate controls on sources of bias (an evaluation of the potential sources of bias should form part of this) - a statistical justification for the expected quality of outcomes, and justification for why this is satisfactory in light of the residual risks. This is an important consideration. For example, retrospective surveys with no justification other than “this should demonstrate the expected quality of evidence that we require,” but without showing a statistical rationale, are not acceptable. |
| Method | Proactive customer survey on the device: XX |
| Countries | e.g., 5 clinical sites (European and USA) |
| Objective | To determine any safety and efficacy problems of the device: XX |
| Timeline | Start of the survey: xxx End of the survey: xxx Data analysis: xxx The results of the data analysis are included in the regular updates of the clinical evaluation reports of device. |

Justification for the adequacy of the methods and procedures and an adequate justification for the schedule.

### Device Tracking/Registry Data

| Title | Registry data monitoring |
| --- | --- |
| Aim of activity | Examples: - confirming the safety of the medical device - confirming the performance of the medical device - identifying previously unknown side-effects (related to the procedures or to the medical devices) - monitoring the identified side-effects and contraindications - identifying and analysing emergent risks - ensuring the continued acceptability of the benefit-risk ratio - identifying possible systematic misuse or off-label use of the device (as per MDCG 2020-07) |
| Rationale and known limitations | Describe the rationale for the appropriateness of the chosen methods/procedures, including: - the justification for sample size, timescales and endpoints - justification for comparator, on the basis of intended purpose and state of the art - justification of the study design on the basis of all of the above, and why it is sufficient to ensure representative patient populations and provide for adequate controls on sources of bias (an evaluation of the potential sources of bias should form part of this) - a statistical justification for the expected quality of outcomes, and justification for why this is satisfactory in light of the residual risks. This is an important consideration. For example, retrospective surveys with no justification other than “this should demonstrate the expected quality of evidence that we require,” but without showing a statistical rationale, are not acceptable. |
| Method | Proactive continuous monitoring of registry data related to the device and equivalent or similar devices: e.g., registry plan, etc. |
| Countries | XX |
| Objective | XX |
| Timeline | The results of the continuous registry monitoring are analysed annually throughout the entire life cycle of the device. The analysed data set is implemented in the Clinical Evaluation Report updates time. |

Justification for the adequacy of the methods and procedures and an adequate justification for the schedule.

### Internal Tests

| Title | Title of the test report |
| --- | --- |
| Aim of activity | Examples: - confirming the safety of the medical device - confirming the performance of the medical device - identifying previously unknown side-effects (related to the procedures or to the medical devices) - monitoring the identified side-effects and contraindications - identifying and analysing emergent risks - ensuring the continued acceptability of the benefit-risk ratio - identifying possible systematic misuse or off-label use of the device (as per MDCG 2020-07) |
| Rationale and known limitations | Describe the rationale for the appropriateness of the chosen methods/procedures, including: - the justification for sample size, timescales and endpoints - justification for comparator, on the basis of intended purpose and state of the art - justification of the study design on the basis of all of the above, and why it is sufficient to ensure representative patient populations and provide for adequate controls on sources of bias (an evaluation of the potential sources of bias should form part of this) - a statistical justification for the expected quality of outcomes, and justification for why this is satisfactory in light of the residual risks. This is an important consideration. For example, retrospective surveys with no justification other than “this should demonstrate the expected quality of evidence that we require,” but without showing a statistical rationale, are not acceptable. |
| Method | Summary of the test report |
| Objective | Define the objective of the test |
| Timeline | Define the timeframe of the test |

Justification for the adequacy of the methods and procedures and an adequate justification for the schedule.

### Other Activities

If applicable.

Justification for the adequacy of the methods and procedures and an adequate justification for the schedule.

### Post-Market Clinical Follow-up Study (PMCF Study)

| Title | Title of the Post-market clinical follow-up study |
| --- | --- |
| Aim of activity | Examples: - confirming the safety of the medical device - confirming the performance of the medical device - identifying previously unknown side-effects (related to the procedures or to the medical devices) - monitoring the identified side-effects and contraindications - identifying and analysing emergent risks - ensuring the continued acceptability of the benefit-risk ratio - identifying possible systematic misuse or off-label use of the device (as per MDCG 2020-07) |
| Rationale and known limitations | Describe the rationale for the appropriateness of the chosen methods/procedures, including: - the justification for sample size, timescales and endpoints - justification for comparator, on the basis of intended purpose and state of the art - justification of the study design on the basis of all of the above, and why it is sufficient to ensure representative patient populations and provide for adequate controls on sources of bias (an evaluation of the potential sources of bias should form part of this) - a statistical justification for the expected quality of outcomes, and justification for why this is satisfactory in light of the residual risks. This is an important consideration. For example, retrospective surveys with no justification other than “this should demonstrate the expected quality of evidence that we require,” but without showing a statistical rationale, are not acceptable. |
| Phase | Post-market |
| Countries | e.g., 5 in Portugal, 5 in Germany, 5 in USA |
| Sample size/patient population and statistical sample size estimation | Statistical sample size estimation |
| Primary endpoint |  |
| Investigational device features (device class, description) | e.g., Class III |
| Device application | e.g., device with CE marking applied according to its intended use |
| Visit schedule | e.g., screening, post-surgical, discharge |
| Planned study timeline | Status of the action: not active Start of the planning of the PMCF study: XXX Start of the PMCF study: XXX Interim analysis, if required: XXX End of PMCF study: XXX Analysis of the final results: XXX |

Justification for the adequacy of the methods and procedures and an adequate justification for the schedule.

### Rationale

The PMCF activities carried out with the medical device must further support the clinical data collected and evaluated in the clinical evaluation report. The above-listed activities serve to collect further clinical data in relation to the clinical performance, safety, and clinical benefit of the device throughout its life cycle.

## Results

Report all the activities performed according to the TMP-CE-05 PMCF Plan, as well as any justification of deviations from the plan.

The discussion shall include the analysis of the findings (both positive and negative) and the potential impact on the different documents (clinical evaluation report, risk management, etc…) initially reviewed during the conformity assessment. Include also a description about the quality of data collected.

Use the different subsections for each activity performed.

### Literature Review

### Customer Surveys

### Device Tracking/Registry Data

### Internal Tests

### Other Activities

### Post-Market Clinical Follow-Up Study (PMCF Study)

## Evaluation of clinical data relating to equivalent or similar devices

As per MDCG 2020-07, report the clinical data collected relating to an equivalent device or selected similar device(s), provide an analysis and conclusions, and whether changes of the state of the art, or newly identified hazards would have an impact on the devices benefit-risk determination, the clinical evaluation and/or the PMCF plan.

| Product Name of Equivalent/similar device |  |
| --- | --- |
| Intended purpose |  |
| Intended users |  |
| Intended patient population |  |
| Medical condition |  |
| Indication |  |
| Reference to clinical data evaluation in the Clinical Evaluation Report | Date, version and location in the text |
| Results discussed |  |
| References | References used to get the results (publications, part of technical documentation from this equivalent / similar device) |

## Impact on Technical Documentation

## Contribution to clinical evaluation

Contribution to the update of the clinical evaluation, influencing whether sufficient clinical evidence is available for the devices under evaluation to demonstrate compliance with the general safety and performance requirements.

## Contribution risk management

Information about possible further identified risks, indications of further necessary risk minimization measures and any doubts as to whether necessary risk controls are in place.

| Risk | Measure | Responsibility | Date of completion |
| --- | --- | --- | --- |

## Reference to Applicable Common Specifications, Harmonized Standards or Applicable Guidance Documents

Indicate applicable Common Specifications, harmonized standards or applicable guidance documents, their title, date and version.

## Conclusion

A summary of the results and conclusions of the PMCF activities carried out and a justification and description of each preventive and corrective measure taken.

Present an overall conclusion of the results and relate it to the objectives of the PMCF plan. The conclusions shall be considered in the subsequent clinical evaluation and risk management. Finally, this conclusion shall highlight whether a need for preventive and/or corrective action has been identified. The conclusion may also serve as input for the next PMCF plan.

This section includes the following information:

- Statement that/if the expected benefit and the specified performance characteristics are met.

- A statement that the product is safe and that the risks are consistent with the assumptions in the Risk Management File. (presentation of the deviations).

- Statement whether there is a balanced benefit-risk ratio. This declaration considers alternative products and processes.

## Updating of PMCF Report

Describe implications for PMCF activities in the next surveillance interval.

The following applies to the clinical evaluation: annual Class III and implantable devices, 3 years Class IIa and Class IIb, for Class I devices a 5-year cycle is acceptable. In the case of critical devices, the activities may have to be performed several times a year.

## Annex

### Applicable and relevant documents

| Document Identification | Document Title |
| --- | --- |
| TMP-IU-01 | Intended Use |
| SOP-PM-01 | Procedure Post-Market Surveillance |
| TMP-CE-01 | Clinical Evaluation Report |
| TMP-CE-02 | Clinical Evaluation Plan |
| TMP-CE-05 | Post-Market Clinical Follow-up Plan |