TEMPLATE INSTRUCTIONS

This template document contains guidance notes, such as this one. These instructions should therefore be deleted before the release of the document. This also applies to this chapter "Template instructions". Information highlighted in yellow should also be evaluated and completed.

Sections that are indicated as optional can be deleted. Also, required content can be added.

The version history below applies to the template and not to the resulting document. Clean up the table as needed and use it for your document control purposes.

Template Version History

| Version | Date of validity | Author | Description of change |
| --- | --- | --- | --- |
| 1 | 2022-06-01 | Célia Cruz | First version |

## Version History

| Version | Date of validity | Created by | Approved by | Description of change |
| --- | --- | --- | --- | --- |
| 1 | YYYY-MM-DD | [Name, including digital signature] | [Name, including digital signature] | First version |

## Purpose and Scope

The purpose of this procedure is to describe feedback and complaints handling.

This procedure applies to all feedback and complaints that affect the medical devices and services of our company.

## Responsibilities

Please adapt the responsibilities accordingly to your company.

The Person Responsible for Regulatory Compliance (PRRC) is responsible for compliance, implementation, and updating of this procedure.

This procedure applies to all employees of Service & Support department regarding the fulfillment of the respective tasks.

## Procedure

Please adapt accordingly to your company.

Clients can communicate with the company (e.g., for product information, enquiries, contracts or order handling, including amendments) through several inputs such as:

- phone call

- message per email or mail.

- The answer will be typically by the same means of communication, unless documents need to be exchanged where email or mail are used, as required.

### Feedback input

Adapt the text below to your company.

Provide general information about how you intend to set up your company’s feedback management system.

Consider sub-sections that describe more specifically, such as:

- Customer support availability (typically e.g. 9am - 5pm CET Mon - Fri)

- Customer support ticket system (if applicable, consider GDPR requirements for sensitive data)

Ideally, inquiries should be responded to in the same way of communication as they were received by.

Feedback can be received via several inputs such as:

- phone call

- direct communication

- message per email or mail

- entry in the ticket system

- Audits and Management Reviews

These can come from various sources, including:

- Customer (e.g. via support directly or indirectly)

- suppliers

- staff

- authorities

- Notifications and actions by manufacturers of similar products

- Scientific publications

We inform our customers to communicate with us through our support email address via our hotline or and (if required) to send us an error description.

Communication with customers includes, but it is not limited to:

- product information;

- inquiries, contracts, or order handling, including amendments;

- customer feedback, including complaints;

- advisory notices.

All information and suggestions from the customer must be reviewed.

Feedback is documented through our ticket system.

### Evaluation/Classification of Feedback

Adapt the text below to your company.

Add more categories as required by your organization. For example: positive feedback (praise), data privacy inquiries,...

All feedback is classified into one of the following categories. If the Operations team is not sure how to classify a ticket, it consults the Quality Management Representative.

| Category | Description | Action |
| --- | --- | --- |
| Support Request | Pure support request (e.g., parametrization of the medical device, exchange of a part) or any request for help that can be resolved by providing the user with (usability) information. | Follow section Support Request |
| Feature Request | Any request to add, modify or remove product functionalities. | Forward to the Product team for evaluation. If applicable follow SOP-CC-01 Procedure Change Management as applicable |
| Customer Complaint | Any complaint that can be related to our products or organization and which is not classified as an “issue with potential negative influence on patient health”. | Follow section Complaint Handling |
| Issue with potential negative influence on the state of health | Any customer complaint related to: . problem with the medical device that could cause or may have caused or did in fact cause a death or serious deterioration in the state of health . problem with the medical device that significantly impaired the performance criteria of the device (based e.g. on the information given in the intended use, user manual or marketing material). For further information see SOP-VI-01 Procedure Vigilance. | Follow section Complaint Handling and then evaluate and follow SOP-VI-01 Procedure Vigilance |

In addition, the feedback is checked to see whether the information received is relevant as an input for risk management. If necessary, the Risk Manager is informed.

### Support Request

Please adapt to your company.

In case the feedback is considered a Support Request, we actively support our customers or perform the desired service. We document both options.

Examples for support activities:

- answering questions;

- parametrization of systems;

- repair of devices (field work);

- reset of passwords;

- additional supply of spare parts and consumables, if applicable.

If needed follow SOP-CC-01 Procedure Change Management.

Document the outcome in the ticketing system.

The support should verify whether the support request has been resolved. The support documents the answer of the customer or the result of the verification in the ticket.

If the support case has not been resolved in a satisfactory manner, the process has to be re-initiated and, if required, the customer has to be asked for additional information.

In any case, the customers are informed about the actions.

### Complaint Handling

Specifically adapt to the company process

If the feedback is considered a Customer Complaint or a potential Issue with potential negative influence on the state of health, document:

- Date of feedback;

- Description of the issue (e.g. software version, runtime environment, if available: screenshots / images);

- Affected users, contact details and customer locations;

- Steps to reproduce the problem;

- Responsible person assigned.

If necessary, request further information from customers, colleagues or third parties and document this in the ticket.

In case of potential incidents and serious incidents, the PRRC is immediately informed, initiating the SOP-VI-01 Procedure Vigilance if needed.

The PRRC regularly (once a month) checks all complaints not yet reported against the listed criteria.

Concerning the customer complaint:

- If the customer complaint constitutes a persistent problem related to a medical device that cannot be resolved by providing user information or training (e.g. software bugs), forwarded to the Product team to initiate the problem resolution process (see SOP-SW-02 Procedure Problem Resolution).

- If the customer complaint is related to an organizational issue (e.g. sales and marketing efforts), the Operations team involves other teams of the organization where necessary to provide the customer / user with a satisfactory response. If the issue needs further follow-up, it should be forwarded to the Quality Management Officer to initiate the process for corrective and preventive actions (see SOP-CP-01 Procedure Corrective and Preventive Actions).

- If the customer complaint may constitute a systematic issue, the feedback is additionally forwarded to the Quality Management Officer to initiate the process for corrective and preventive actions (see SOP-CP-01 Procedure Corrective and Preventive Actions).

The complaint shall be investigated by the responsible and a root cause analysis shall be performed and added to the ticket.

Risks related to this complaint and the affected products shall be analyzed. All product-related feedback shall be checked for a potential impact on the risk management file or product requirements of the respective device and shall be taken into consideration for device post-market surveillance.

Depending on the evaluation, if a field safety corrective action is deemed necessary, follow SOP-VI-01 Procedure Vigilance.

Once the complaint is investigated, a report shall be communicated to the reporter with the investigation results and, if applicable, follow-up actions.

### Analysis of Causes

The cause of the problem is investigated together with the Risk Manager if necessary. Evaluate whether the information collected serves as a possible input into the Risk Management process, following SOP-RM-01 Procedure Risk Management.

Based on the root cause analysis:

- If root cause cannot be clearly identified (e.g., support identifies a malfunction on the product, herein being unable to name the specific cause, i.e., the faulty component), we document it and escalate into the SOP-SW-02 Procedure Problem Resolution.

- If we notice that there is no problem or there is no action required, it should be documented and justified on the ticket.

- If the problem can be resolved by Service & Support, this is documented on the ticket.

- If we recognize that product conformity is affected and it is in the market, the procedure in SOP-CP-01 Procedure Corrective and Preventive Actions and SOP-SW-02 Procedure Problem Resolution are initiated.

- Independent of any of the above-mentioned actions, for example in the systematic errors in processes, it is always possible to initiate the SOP-CP-01 Procedure Corrective and Preventive Actions.

### Validation of Actions

The Operations team proactively receives updates regarding the status of actions per ticket from other teams. Once the actions are considered completed (e.g. for change requests: decision to implement a feature or not is made), the Operations team informs the customer/user and validates if the actions taken are satisfying. If so, the validation is documented in the ticket and the ticket is closed. If not, this process is re-initiated.

If a customer / user does not respond, validation is tried at least a second time before the ticket is closed.

### Verification of the Resolution

It is verified if the actions implemented have been effective (e.g. by means of feedback, verification of bug fixes, no reports regarding a renewed occurrence etc.). We define further actions, if required.

If the problem has not been resolved, we re-initiate the process.

### Issue with a Potential Negative Impact on the State of Health

All issues with a potential negative impact on the state of health must be reported immediately, but no later than on the same day, to the Person Responsible for Regulatory Compliance and the SOP-VI-01 Procedure Vigilance should be followed.

## Annex

### Applicable and relevant documents

| Document Identification | Document Title |
| --- | --- |
| LST-CP-01 | List of Corrective and Preventive Actions |
| SOP-VI-01 | Procedure Vigilance |
| SOP-SW-02 | Procedure Problem Resolution |
| SOP-CP-01 | Procedure Corrective and Preventive Actions |
| SOP-RM-01 | Procedure Risk Management |
| SOP-CC-01 | Procedure Change Management |