TEMPLATE INSTRUCTIONS

This template document contains guidance notes, such as this one. These instructions should therefore be deleted before the release of the document. This also applies to this chapter "Template instructions". Information highlighted in yellow should also be evaluated and completed.

Sections that are indicated as optional can be deleted. Also, required content can be added.

The version history below applies to the template and not to the resulting document. Clean up the table as needed and use it for your document control purposes.

Template Version History

| Version | Date of validity | Author | Description of change |
| --- | --- | --- | --- |
| 1 | 2022-06-01 | Célia Cruz | First version |

## Version History

| Version | Date of validity | Created by | Approved by | Description of change |
| --- | --- | --- | --- | --- |
| 1 | YYYY-MM-DD | [Name, including digital signature] | [Name, including digital signature] | First version |

## Purpose and Scope

The purpose of this procedure is to describe methods to analyze the causes of problems and nonconformities and to plan, conduct, and document resulting corrective and preventive actions (CAPAs), and to review the effective implementation.

This procedure applies to all processes and fields of the Quality Management System.

## Responsibilities

Please adapt the responsibilities accordingly to your company.

The Quality Management Representative is responsible for following, applying and updating this procedure.

## Procedure

Please adapt the responsibilities accordingly to your company.

### Terms

Immediate action: Action necessary to limit the extent of an occurred issue such as recommendation for action to our customer, recalls, blocking of devices, hotfixes.

Correction: Action to eliminate an occurred issue/problem.

Corrective action: Action to eliminate the cause of an occurred issue/problem to eliminate the recurrence of the issue.

Preventive action: Action to eliminate the cause of a potential issue/problem. The issue hasn't occurred yet, therefore, a corrective action is not necessary.

FSCA: Field Safety Corrective Action. For further information see SOP-VI-01 Procedure Vigilance.

### Inputs

Several events may lead to creation of a corrective and preventive actions.

Inputs for corrective actions may include:

- Product nonconformities

- Quality Management System nonconformities

- Complaints

- Internal bug reports, e.g. by developers

- Audit findings

- Post-market surveillance findings

- Management Review findings

- Feedback from service and support

- Supplier management / purchasing

- Other systemic problems (except for software problems, as these are always systemic on a code basis), which require in-depth investigation to identify the root causes and to prevent their recurrence

Inputs for Preventive Actions may include:

- Negative trends, which are identified during data analysis including from Post-market surveillance

- Findings of potential deviations, decisions and measures from the Management Review

- Results of the supplier evaluation

- Suggestions from employees and customers (service / support)

- Identified nonconformities at other organizations that we have heard about and that we might encounter

These inputs may be received from any person in the company. The Quality Management Representative is responsible for creating the record of the actions and tracking its resolution.

### Decision on Next Steps, Immediate Action

The Quality Management Representative discusses the next steps with the Process Owner closer to the issue. This analysis includes if the finding:

- is systemic,

- is a (potential) nonconformity to applicable standards, regulations or requirements of the Quality Management System, or

- has resulted or could have resulted in harm to a person.

If immediate action is necessary (e.g., product recall, notification of authorities), the Person Responsible for Regulatory Compliance should be consulted. Immediate action is carried out without undue delay, following SOP-VI-01 Procedure Vigilance. This analysis should be recorded in the LST-CP-01-List of Corrective and Preventive Actions.

### Root Cause Analysis

The Quality Management Representative discusses the next steps with the Process Owner closer to the issue.

Depending on the (potential) nonconformity, we use specific methods and tools to identify the causes, including:

- 5 Why (asking why multiple times leads to the main causes of the problem)

- Cause and effect diagram / fishbone diagram / Ishikawa diagram

- Chronology

- Fault tree analysis (FTA)

The result of the analysis is added to the LST-CP-01-List of Corrective and Preventive Actions.

### Implementation of Action

The Quality Management Representative coordinates defining and implementing corrective and preventive action. Support by other roles may be required for implementation. Every action should be implemented without unjustified delay.

If only corrections are necessary, after being implemented, the action is closed and the outcome is recorded in the LST-CP-01-List of Corrective and Preventive Actions.

For corrective and preventive actions, the Quality Management Representative monitors the action plan and the planned effectiveness checks. In doing so, we check that the measures:

- addresses the identified causes,

- cover all affected devices/processes/units,

- do not adversely affect final products or processes,

- can be implemented within the planned schedule,

- do not implement new (potential) nonconformities/problems and

- do not negatively influence the suitability of the Quality Management System to meet regulatory requirements.

Outcomes are documented in the LST-CP-01-List of Corrective and Preventive Actions.

It can also be evaluated if the proposed actions can be extended to other products and processes not yet affected by the cause/causes (additional preventive action). If changes to one or more of our products are necessary, follow SOP-CC-01 Procedure Change Management.

#### Corrective actions

A corrective action may require that changes be made to any document, process or arrangement within the QMS.

Corrective actions must be appropriate to the consequences of occurred nonconformities.

#### Preventive actions

The purpose of preventive action is to prevent undesired effects by determining activities aimed at eliminating the cause of a potential non-conformity to prevent its occurrence.

### Verification and Check of Effectiveness

The Quality Management Representative conducts the verification and effectiveness review of the implemented action.

- Verification: Documenting proof of implementation of actions taken.

- Effectiveness: Review of the effectiveness of actions taken, by ensuring the measures have eliminated the cause(s). It should also be ensured that consequences of the corrective action don’t have a negative influence on other parts of the system. Depending on the type of action, it may be necessary to collect data over a specific period of time in order to verify its effectiveness (e.g. 5 runs of a process, monitoring of a trained employee over 3 months).

If the actions were verified and were considered effective, it can be considered closed. Outcomes are documented in the LST-CP-01-List of Corrective and Preventive Actions.

## Annex

### Applicable and relevant documents

| Document Identification | Document Title |
| --- | --- |
| LST-CP-01 | List of Corrective and Preventive Actions |
| SOP-VI-01 | Procedure Vigilance |