TEMPLATE INSTRUCTIONS

This template document contains guidance notes, such as this one. These instructions should therefore be deleted before the release of the document. This also applies to this chapter "Template instructions". Information highlighted in yellow should also be evaluated and completed.

Sections that are indicated as optional can be deleted. Also, required content can be added.

The version history below applies to the template and not to the resulting document. Clean up the table as needed and use it for your document control purposes.

Template Version History

| Version | Date of validity | Author | Description of change |
| --- | --- | --- | --- |
| 1 | 2022-04-05 | Célia Cruz | First version |
| 2 | 2022-06-29 | Célia Cruz | Review formatting |

## Version History

| Version | Date of validity | Created by | Approved by | Description of change |
| --- | --- | --- | --- | --- |
| 1 | YYYY-MM-DD | [Name, including digital signature] | [Name, including digital signature] | First version |

## Purpose

Briefly describe the purpose of this document, updating the suggestion below as needed.

This document includes an overview of the cybersecurity related activities and measures.

## Identification of the product

| Name of the product | Version of the product | Software version of the product | Basic UDI-DI (optional) |
| --- | --- | --- | --- |
| < name of the product> | <version of the product. If standalone software, use either this or the next column and delete the other> | <version of the software> | <Basic UDI-DI, if/when available> |

## System Description and Diagrams

### Context of Medical Device

Adapt this section as required for the specific medical device.

Describe here the interoperability and interactions of the product with external systems. Include a schematic overview of interaction with other systems.

As described in the intended use, the interoperability of our product with external systems is schematized in the figure below.

### Interfaces and Access Rights

Adapt this section as required for the specific medical device.

#### Overview of interfaces

Describe the interfaces detailed in the image of the section Context of Medical Devices

| Name | Type | Data | Structural and syntactical interoperability |
| --- | --- | --- | --- |
| LIMS interface | external (inside organization) | Bidirectional exchange of data from laboratory information management system (LIMS) | TCP-socket based (port 1024) connection in LAN (wires). Data are exchanged via HL7 V2 (pipe symbols). |
| Cloud interface | external (outside organization) | ... |  |
| Client-Server | internal |  |  |

#### Authentication Methods

Describe the methods of authentication.

The medical device authenticates the external actors as described in the table below.

| Interface Connection | Authentication Method |
| --- | --- |
| LIMS interface | Authentication is not handled via medical device but by external measures: Network traffic is only permitted between white listed IP and MAC addresses. |
| Cloud interface X | No authentication, as only unidirectional data flow. Data cannot be read or even changed via this interface. |
| Cloud interface Y | There are only responses to https requests of the medical device. I.e. the medical device has to authenticate itself at the cloud storage but not the cloud storage at the medical device. Incoming http and https requests are only permitted via interface #7. |
| Client Server | The users' (not the client PC's) credentials (password and ID (via ID card)) are transferred to the server. The server forwards these data to an authentication service that grants or declines permissions. This service uses the Auth0 protocol |

#### Authorization and User Roles

Describe the authorized user roles

The medical device has role-based authorization.

| Roles | Type | Access to medical data | Access to technical data | Update | User Management |
| --- | --- | --- | --- | --- | --- |
| Role | Human /System | E.g. read (incl. search), change and delete medical data. Describe which type of medical data | E.g. Event and audit logs, change history, performance statistics, etc. | E.g. Installation, update, upgrade of system including management of cryptographic keys | E.g. Adding and removing users, granting and revoking specific access rights, setting passwords |
| Healthcare professionals | Human |  |  |  |  |
| Admin | Human |  |  |  |  |
| HL7 communication partner | System |  |  |  |  |
| Support | Human |  |  |  |  |

### Runtime environment

The run-time environment comprises software and hardware that are not part of the medical device but that are required to run the medical device software.

Describe the minimum requirements of the run-time environment These may include:

- Hardware: RAM, CPU, storage, screen (size, resolution, orientation)

- Software: Operating system (including version), virtualization layers (e.g. virtual machines, .NET, JRE), browsers, firewalls, anti-malware

- Network: Bandwidth, latency, reliability, physical representation (should match "structural interoperability" as specified above)

### System and Software Architecture

#### Logical View (SOUP components)

Add here a component diagram that reveals all top-level software components and all SOUP/OTS components. The software architecture does not only have to identify the components, but also the interfaces and the interaction of these components.

List the SOUP/OTS components that are part of the medical device. Alternatively, if already described there, link to the TMP-SW-05 Software Architecture. Describe these components including

SOUP Name:

Version:

Manufacturer:

Reference to NIST National Vulnerability Database (optional)

#### Run-time view

Add a flow or sequence diagram that illustrates how data are propagated from external interfaces (outside) through the system (via its components) and back to the external interfaces.

#### IT security-related aspects

Describe the Programming language, Type of cryptographic methods/algorithms, Handling of cryptographic assets such as keys, certificates, code, and Secure software updates.

### Risk Management

The risk management process is incorporated into the secure software life cycle.

### Risk Analysis

#### Methods

Provide a short summary of different methods and link to the detailed results:

- threat modeling (including the number of threats before and after mitigation)

- FMEA (Failure Mode and Effect Analysis)

- Production related risks (indication of what can go wrong in the production and respective harms, such as within IT systems, credentials, software or certificates)

#### Results

The structure and content of the following table is only an example. The risks may be included also in the TMP-RM-01 Risk Management File.

The IT security-related risk analysis revealed the following risks:

| ID | Function, component, input/interface | Hazard | Cause | Risk before measures | Measure | Risk after measure |
| --- | --- | --- | --- | --- | --- | --- |
| 23 | DB with medications | wrong data on contraindications | Person has unauthorized access and manipulates of data | Not acceptable | RM1 | Acceptable |
| 65 | User interface | wrong entry of treatment parameters | Authorized person leaves system unattended and other person has unauthorized access | Not acceptable | RM2 | Acceptable |
| 69 | REST interface | entire system crashes | DDoS attack on REST interface | Not acceptable | RM3 | Acceptable |
| 72 | Web interface | System reveals confidential information | Cross-site scripting attack | Not acceptable | RM4 | Acceptable |

### Risk Mitigation

#### Measurements by manufacturer

The structure and content of the following table only serve as an example.

| ID | Description | Related Requirement | Verification |
| --- | --- | --- | --- |
| RM1 | Authentication and roles-based authorization | SRS_25, SD_78 | Software system test #36 |
| RM2 | Automatic logoff | SRS_12 | Software system test #35 |
| RM3 | System access only via whitelisted IP addresses (required in the Instructions for Use) | N/A | IFU chapter "Installation requirements" |

The measures are suitable to reduce the risks to an acceptable level.

#### Measures by users

Describe here the measures that the users, hospitals, etc. are responsible for. These measures include

- Malware protection, use of firewalls

- Password policies

- Restriction of physical access

- Network layout

- Backup and restore

- Detection of security breaches and required actions

- Required education

## Post-market Activities

### Post-Market Surveillance

Adapt as required.

The post-market surveillance plan (SOP-PM-01 Procedure Post Market Surveillance) specifies the post-market activities. The IT security-related activities include:

- Weekly scanning of the NIST NVD database;

- Monthly analysis of government databases: BfArM, SwissMedic, FDA;

- Monthly analysis of bug reports and release notes of SOUP/OTS manufacturers.

If you have an incident plan, please reference it here.

## Summary

A secure software development lifecycle was followed. IT-security-related hazards were identified and mitigated. Post-market activities were also planned. Based on this, it is considered that the IT requirements of the medical device have been met.

## Annex

### Applicable and relevant documents

| Document Identification | Document Title |
| --- | --- |
| SOP-SW-01 | Procedure Software Development |
| SOP-CC-01 | Intended use |
| TMP-IU-01 | Stakeholder Requirements |
| TMP-IU-02 | Software Development Plan |
| TMP-SW-02 | Configuration Management Plan |
| TMP-SW-03 | Software Requirements Specification |