TEMPLATE INSTRUCTIONS

This template document contains guidance notes, such as this one. These instructions should therefore be deleted before the release of the document. This also applies to this chapter "Template instructions". Information highlighted in yellow should also be evaluated and completed.

Sections that are indicated as optional can be deleted. Also, required content can be added.

The version history below applies to the template and not to the resulting document. Clean up the table as needed and use it for your document control purposes.

Template Version History

| Version | Date of validity | Author | Description of change |
| --- | --- | --- | --- |
| 1 | 2022-03-15 | Célia Cruz | First version |
| 2 | 2022-06-29 | Célia Cruz | Update formatting |

## Version History

| Version | Date of validity | Created by | Approved by | Description of change |
| --- | --- | --- | --- | --- |
| 1 | YYYYY-MM-DD | Name, including digital signature] | [Name, including digital signature] | First version |

## Purpose

This document meets the requirements of IEC 62304:2006+A1:2015, concerning Chapter 4.3 Software safety classification and FDA "Guidance for the Content of Premarket Submissions for Software Contained in Medical Devices".

The purpose of this document is to determine the safety classification according to IEC 62304:2006+A1:2015, and the level of concern according to the FDA.

## Identification of the product

| Name of the product | Version of the product | Software version of the product | Basic UDI-DI (optional) |
| --- | --- | --- | --- |
| < name of the product> | <version of the product. If standalone software, use either this or the next column and delete the other> | <version of the software> | <Basic UDI-DI, if/when available> |

## Classification

The medical device was evaluated concerning the software safety classification according to IEC 62304:2006 + A1:2015. The level of Concern according to" Guidance for the Content of Premarket Submissions for Software Contained in Medical Devices" was determined.

The safety classification serves, among other purposes, to define the scope of the documents to be created.

The software was classified as:

| Category | Evaluation |
| --- | --- |
| Software Safety Classification (IEC 62304:2006 + A1:2015) | <state here if Class A, Class B, Class C. See below further information for classification> |
| Level of Concern | <state here Level of Concern (Major, Moderate, Minor). See below further information for classification> |

### Software Safety Classification Evaluation

|  | Criteria | Decision | Justification | Classification / continuation |
| --- | --- | --- | --- | --- |
|  | Can a hazardous situation arise from software failure? | ☐ No |  | Class A |
|  |  | ☐ Yes |  | Go to next question |
|  | Does a failure of the software result in an unacceptable risk after verifying the efficacy of external risk control measures? | ☐ No |  | Class A |
|  |  | ☐ Yes |  | Go to next question |
|  | What severity of harm is possible? | ☐ No serious injury* |  | Class B |
|  |  | ☐ Serious injury / death |  | Class C |

* SERIOUS INJURY: injury or illness that:

a) is life threatening,

b) results in permanent impairment of a body function or permanent damage to a body structure, or

c) necessitates medical or surgical intervention to prevent permanent impairment of a body function or permanent damage to a body structure.

NOTE Permanent impairment means an irreversible impairment or damage to a body structure or function excluding trivial impairment or damage.

### Level of Concern (remove if FDA application is not applicable)

Level of Concern is determined following "Guidance for the Content of Premarket Submissions for Software Contained in Medical Devices". The evaluation for Name of Product is carried out from the perspective of the software without implemented risk control measures.

An answer “Yes” to the questions below, most likely indicates that the Level of Concern for the Medical Device Software Device is that respective level. If the answers to all of the questions is “No”, the Level of Concern is Minor.

| Question | Answer | Description |
| --- | --- | --- |
| Major Level of Concern |  |  |
| 1. Does the Software Device qualify as Blood Establishment Computer Software? (Blood Establishment Computer Software is defined as software products intended for use in the manufacture of blood and blood components or for the maintenance of data that blood establishment personnel use in making decisions regarding the suitability of donors and the release of blood or blood components for transfusion or further manufacture.) |  |  |
| 2. Is the Software Device intended to be used in combination with a drug or biologic? |  |  |
| 3. Is the Software Device an accessory to a medical device that has a Major Level of Concern? |  |  |
| 4. Prior to mitigation of hazards, could a failure of the Software Device result in death or serious injury, either to a patient or to a user of the device? Examples of this include the following: |  |  |
| a. Does the Software Device control a life supporting or life sustaining function? |  |  |
| b. Does the Software Device control the delivery of potentially harmful energy that could result in death or serious injury, such as radiation treatment systems, defibrillators, and ablation generators? |  |  |
| c. Does the Software Device control the delivery of treatment or therapy such that an error or malfunction could result in death or serious injury? |  |  |
| d. Does the Software Device provide diagnostic information that directly drives a decision regarding treatment or therapy, such that if misapplied it could result in serious injury or death? |  |  |
| e. Does the Software Device provide vital signs monitoring and alarms for potentially life threatening situations in which medical intervention is necessary? |  |  |
| Moderate Level of Concern |  |  |
| 1. Is the Software Device an accessory to a medical device that has a Moderate Level of Concern? |  |  |
| 2. Prior to mitigation of hazards, could a failure of the Software Device result in Minor Injury, either to a patient or to a user of the device? |  |  |
| 3. Could a malfunction of, or a latent design flaw in, the Software Device lead to an erroneous diagnosis or a delay in delivery of appropriate medical care that would likely lead to Minor Injury? |  |  |