TEMPLATE INSTRUCTIONS

This template document contains guidance notes, such as this one. These instructions should therefore be deleted before the release of the document. This also applies to this chapter "Template instructions". Information highlighted in yellow should also be evaluated and completed.

Sections that are indicated as optional can be deleted. Also, required content can be added.

The version history below applies to the template and not to the resulting document. Clean up the table as needed and use it for your document control purposes.

Template Version History

| Version | Date of validity | Author | Description of change |
| --- | --- | --- | --- |
| 1 | 2022-05-17 | Célia Cruz | First version |
| 2 | 2022-06-29 | Célia Cruz | Review formatting |

## Version History

| Version | Date of validity | Created by | Approved by | Description of change |
| --- | --- | --- | --- | --- |
| 1 | YYYY-MM-DD | [Name, including digital signature] | [Name, including digital signature] | First version |

## Purpose

Briefly describe the purpose of this document, updating the suggestion below as needed.

This document is the report summary of the usability engineering.

## Identification of the product

| Name of the product | Version of the product | Software version of the product | Basic UDI-DI (optional) |
| --- | --- | --- | --- |
| < name of the product> | <version of the product. If standalone software, use either this or the next column and delete the other> | <version of the software> | <Basic UDI-DI, if/when available> |

## Intended Use

Intended use is fully described in the TMP-IU-01 Intended Use.

Describe just as indicated in TMP-IU-01 Intended Use the intended use.

### User Profile

Describe as indicated in the section User Profile from the TMP-IU-01 Intended Use.

### Context of Use

Describe as indicated in the section Context of Use from the TMP-IU-01 Intended Use.

## User Group Profiles

| User group | Demographic data | Expected/Intended qualification, job experience, skills | Anticipated tasks and their frequency (related to the medical device) |
| --- | --- | --- | --- |
| E.g., Physician, Nurse, Technician, Laypersons, Maintenance and service personnel, Trainer, … | E.g.: - Typical job title, description - Age - Sex - Ethnicity - Cultural background - Physical size, strength, and stamina - Physical dexterity, flexibility, and coordination - Sensory abilities (i.e., vision, hearing, tactile sensitivity) - Cognitive abilities, including memory - Medical condition for which the device is being used - Comorbidities (i.e., multiple conditions or diseases) - General health status - Mental and emotional state - Ability to learn and adapt to a new device - Willingness and motivation to learn to use a new device - … | E.g.: - Education - Required qualification - Knowledge and experience - Required work experience - Expected trainings - General knowledge of similar types of devices - Knowledge of and experience with the particular device - Literacy and health literacy - Language skills - Experience with other/similar medical devices - … | Give an overview of tasks which the user group shall perform with help of the medical device and indicate how often the user group performs these tasks. E.g.: - Measuring blood glucose (2x daily) - Disinfecting (1x/month) - Analyzing blood pressure results (6x daily) - Diagnosing a specific disease (daily) - Creating a therapy plan (4x/month) - Maintaining device (every 2 years) - … |

### Exclusion criteria for user groups

Describe general exclusion criteria for users (e.g. children under 16 years old).

## Use Environment

For each use environment describe the information of the following table, as applicable.

| Use environment | E.g., Hospital, Clinic, Ward, House, Mobile, Home Office, School, Car, Plane, … |
| --- | --- |
| Lighting | E.g., Dim light |
| Sound / Noise (ambient and intermittent) | E.g., Quiet |
| Climate | E.g., Temperature, Humidity. For software it may be not applicable. |
| Social environment, interaction, work organization | E.g., Family members are around, Medical staff assists surgery, … |
| Typical equipment used | E.g., Ventilator, Monitoring screen, Gloves, Eye protection, Heavy clothing, … |
| Furnishing | E.g., Table, … |
| Distractions and interruptions | E.g. TV, family members, other medical devices, phone, … |
| Other | E.g.: Sterile environment, … |

## User Interface Characteristics Related to Safety and Potential Use Errors

Describe the user interface characteristics related to safety and potential use errors. Please, create one table such as the one below for each.

Alternatively, reference to an external document (e.g. “Risk table”).

| UI-characteristic related to safety/use errors (primary operating functions) | E.g.: series of display screens that the user has to navigate through, setting of infusion parameters, medical device controls that the user has to understand in order to use the medical device, … |
| --- | --- |
| Possible use error with respect to UI-characteristic | E.g.: User sets wrong flow rate of infusion pump |
| Root cause | E.g.: User oversees unit because delimiter is too small (as part of the font) |
| Hazardous situation | E.g.: Patient receives wrong amount of medication |
| Risk Level | E.g.: Probability: 3, Severity 5, Risk Acceptable |

## Known hazards, hazardous situations and use problems

Describe all known hazards, hazardous situations and use problems from the post-market surveillance of predicate devices. Alternatively, please reference an external document. Alternatively, reference to an external document.

| ID | Product | Source | Hazards, hazardous situations, use problems |
| --- | --- | --- | --- |
| 1 | Name of predicate device | E.g.: MAUDE, BfArM, EUDAMED, customer complaints, literature, IFU, … | Example for hazards: radiation, sharp blade of scalpel, wrong (amount of) medication, … Examples for hazardous situations: patient receives (too high) radiation, user is exposed to sharp scalpel, patient receives (too much) medication, … Examples for use problems: user operates the controls of x-ray device incorrectly, user confuses blunt and sharp end of scalpel and cuts himself, flow rate of infusion pump is set too high, … |

### Foreseeable hazards and hazardous situations

List foreseeable hazards and hazardous situations identified. Alternatively, reference to an external document.

| ID | Hazards, hazardous situations, use errors |
| --- | --- |
| 1 | Example for hazards: radiation, sharp blade of scalpel, wrong (amount of) medication, … Examples for hazardous situations: patient receives (too high) radiation, user is exposed to sharp scalpel, patient receives (too much) medication, … |

## Overview of Use Scenarios

Describe for each user group the table below.

There are typically about 7±2 tasks per use scenario. Describe the pre- and post-conditions for each use scenario. You may subdivide complex tasks further into subtasks. Make sure that the tasks cover all aspects of the use scenario if applicable (e.g. task planning, task preparation, task execution, post-processing, evaluation of the results, and optionally distribution of results).

The column “Hazard-related / not hazard-related” needs to be filled out once/if potential harms caused by use errors have been identified.

| ID | Scenario1 |
| --- | --- |
| Use Scenario | E.g., Measuring blood glucose level |
| User group | E.g., Physician, Nurse |
| Use environment | E.g., Hospital ward, Patient’s home |
| Pre-condition (why does the task start?) | E.g., The device is ready for use, A blood drop of the patient is available |
| Post-condition (intended outcome) | E.g., The blood glucose level is displayed on the screen of the device |
| Tasks | E.g.: - Switching on the device - Selecting blood glucose measurement - Inserting test strip - Applying patient’s blood - Checking result |
| Hazard-related | When the information is known, describe if there it is hazard-related or not hazard-related |

## Process and Criteria Used to Identify Hazard-Related Use Scenarios

To identify all hazard related use scenarios including critical tasks, ensure:

- All user groups are identified (section User Group Profiles)

- All use environments are identified (section Use Environment)

- All use scenarios across the user groups are identified (section Overview for Use Scenarios)

- For each use scenario, all tasks that the user has to conduct in the use scenario are identified (sections Overview for Use Scenarios and Detailed Use Scenarios)

- For each task and the corresponding interaction with the device:

  - foreseeable and known use errors are identified (sections User Interface Characteristics Related to Safety and Potential Use Errors, Known Hazards, Hazardous Situations and Use Problems, and Detailed Use Scenarios)

  - for each foreseeable and known use error, the potential harm associated with this use error is identified (section Detailed Use Scenarios)

  - each potential harm is associated with a severity level according to the risk policy (see SOP-RM-01 Procedure Risk Management). Each task shown to involve potential harm of the residual risk with a severity level of 3, 4, or 5 is treated as a critical (hazard-related) task and therefore must be included in summative evaluation, unless the foreseeable use error is related to an uncommon behavior not specific to the medical device.

Update based on your risk matrix and risk policy.

By having analyzed all use scenarios specified in sections Overview of Use Scenarios and Detailed Use Scenarios the entire process is covered and consideration of all critical tasks is ensured.

## Detailed Use Scenarios

### Use scenario 1: Name of use scenario 1

#### Correct use

| Tasks | Actions (by the user) | Reactions (by the user interface) | Use requirements (optional) |
| --- | --- | --- | --- |
| - E.g.: Switching on the device | - Describe all selections, inputs, or other actions the user needs to do to complete this task. One task can require several actions. - E.g.: User presses ON-button | - Describe all reactions of the system in response to the user action (displayed information, acoustic signals, …) - E.g.: Display turns on - System beeps twice | - The user shall recognize, if the device is switched on successfully. |
| - E.g.: Selecting blood glucose measurement | - User presses the button to start the measurement on the home screen | - Screen with instructions to insert the test strip appears | - The user shall recognize, when and how to insert a test strip |

#### With possible use error

| Tasks | Use error (User) | Reactions (User interface) | Root cause | Hazardous situation | Harm and severity of harm | Critical /Not critical task (hazard-related) | Risk control measures applied for the safe use |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. E.g.: Switching on the device | The user does not press the ON-button | / | The ON-button is not labeled and cannot be found | The user has an undiagnosed critical blood glucose level | User passes out and injures himself (SL 3) | Critical | The ON-button needs to be bigger than other UI-elements and clearly labeled |
| 2. E.g.: Selecting blood glucose measurement | / | / | / | / | / | Not Critical | / |

### Use scenario 2: Name of use scenario 2

#### Correct use

| Tasks | Actions (by the user) | Reactions (by the user interface) | Use requirements (optional) |
| --- | --- | --- | --- |

#### With possible use error

| Tasks | Use error (User) | Reactions (User interface) | Root cause | Hazardous situation | Harm and severity of harm | Critical /Not critical task (hazard-related) | Risk control measures applied for the safe use |
| --- | --- | --- | --- | --- | --- | --- | --- |

## User Interface Specification

### Accompanying documentation / device labeling

List the accompanying documentation with information for the user. These may include instructions for use, technical description, installation manual, quick reference guide, auditory, visual, or tactile materials, multiple media types, etc.

### Medical-device specific training

Indicate per user group if a specific training is required

| User group | Training required | Training material | Trainer |
| --- | --- | --- | --- |
| Physician | Yes | Training is specified in the following document(s): … | Manufacturer |

### Use requirements identified in the usability engineering process (optional)

List use requirements identified in chapter Detailed Use Scenarios.

| ID | Use requirement |
| --- | --- |
| 1 | XX |
| 2 | … |
| … | … |

### Testable technical requirements identified in the usability engineering process

List testable technical requirements or reference to an external document (e.g. “System Specifications”).

| ID | Testable technical requirements |
| --- | --- |
| 1 | E.g.: display color, character size, placement of the controls, … |
| 2 | … |
| … | … |

### Risk control measures identified in the usability engineering process

List risk control measures identified in chapter Detailed Use Scenarios.

| ID | Risk control measures |
| --- | --- |
| 1 | XX |
| 2 | … |
| … | … |

### Warnings and alarms on the user interface

List warnings and alarms on the user interface. Alternatively, reference to an external document (e.g. “System Specifications”).

| ID | UI-element | Warnings and alarms |
| --- | --- | --- |
| 1 | Device, Screen, IFU, box, … | E.g.: Beeping when critical value is reached, warning sticker “high voltage” next to energy source, … |
| 2 | … | … |
| … | … | … |

## Conclusion

### Summary of use errors and close calls and conclusion

Provide an overview of the use errors and close calls. Evaluate their impact on the safety of the device.

### Risk mitigation and conclusion

Provide an overview of the risk mitigations which need to be implemented or were implemented in response to use errors or close calls and evaluate their effectivity on the safety of the device here.

### Overall conclusion and recommendation

Provide an overall conclusion and recommendations.

## Annex

### Applicable and relevant documents

| Document Identification | Document Title |
| --- | --- |
| TMP-HF-02 | Usability Engineering Plan |
| TMP-IU-01 | Intended Use |
| SOP-RM-01 | Procedure Risk Management |